## Information and Metrics
Energy Benchmarking 2019
Village of Homer
Municipal Buildings over 1,000 Square Feet
| Property Name | Street Address | Primary Use Type | Year Ending | Gross Floor Area (ft²) | Site Eenergy Use Intensity (kBtu/ft²) | Weather Normalized Source Energy use Intensity (kBtu/ft²) | Energy proformance Score | Annual GHG Emissions (Metric Tons CO2e)
| Police Station | 43 1/2 James Street | Police Station | 2019-12-31 | 1650 | 199.5 | 274.1 | Not Available | 16.6
| Recreation Building | 53 South Main Street | Office | 2019-12-31 | 1000 | 201.5 | 242.3 | 6 | 10.5
| Fire Station | 45 South Main Street | Fire Station | 2019-12-31 | 7440 | 127.6 | 177 | Not Available | 47.9
| Water Works | 26 Hudson St | Office | 2019-12-31 | 6512 | 40.9 | 56.3 | 90 | 13.4
| Garages | 2 Grove Street Ext | Mixed Use | 2019-12-31 | 20987 | 39.2 | 46.2 | Not available | 42.9
| Cemetery | 51 South West St | Cemetery | 2019-12-31 | 1990 | 1.9 | 5.3 | Not Available | 0.1
| Well House #3 | 26 Hudson St | Drinking water Treatment & Distribution | 2019-12-31 | 228 | 3204.1 | 8829.5 | Not Available | 29
*Well House #3 is not required to be benchmarked by the resolution passed by the Village due to its size but was included due to the high energy usage at the facility.
Municipal buildings in the Village of Homer over 1,000 square feet used a total of 366,253 kWh of electricity and 16,416 ccf (hundred cubic feet) of natural gas, emitting a total of 150.9 Metric Tons CO2e.